## Slide 1: Classification of macular degenerative pathologies from OCT images with speckle noise
Brent Savage
Spring 2024
BME 541L: Machine Learning and Imaging
MEng in Photonics and Optical Sciences

## Slide 2: Presentation Agenda
Background and Motivation
Data Capture: Optical Coherence Tomography
Speckle Noise
Machine Learning Pipeline
  Dataset
  Preprocessing
  Cleaning up Speckle Noise
  Classification
Results
Conclusions

## Slide 3: Background and Motivation
Age-related macular degeneration (AMD) is the leading cause of legal blindness in individuals > 55 years old
AMD accounts for 6 – 9% of legal blindness globally
Several different pathologies associated with AMD:
  Choroidal neovascularization (CNV)
  Drusen
  Diabetic Macular Edema (DME)
Each pathology has its own symptoms, progression timelines, treatments, etc.
Need for rapid retinal imaging and classification techniques for early detection and vision loss prevention

## Slide 4: Optical Coherence Tomography (OCT)
Rapid, noninvasive, single-cell resolution medical imaging technique
Clinical gold standard in retinal imaging
Interferometric imaging using backscattered light from biological samples
Dependent on coherence properties of light source
B-Scan Image

## Slide 5: Speckle Noise
Coherence
Fixed phase relationship between electromagnetic field values at:
  (1) different locations (Spatial Coherence)
  OR
  (2) different times (Temporal Coherence)
Can be modified by bandwidth of source or spatial filtering of beam
Axial resolution of OCT imaging dependent on coherence length of source:
Lower coherence = higher resolution !!
Speckle Noise
Interference between different parts of an object due to scattering
Manifests as random fluctuation in intensity (noise)
Degrades overall image quality
Can be quantified using speckle contrast ():
: standard deviation of image intensity
: mean image intensity
Low Speckle Noise
High Speckle Noise

## Slide 6: Machine Learning Pipeline

## Slide 7: Dataset
Data taken from “Large Dataset of Labeled Optical Coherence Tomography (OCT) and Chest X-Ray Images”
Daniel Kermany et al., University of California San Diego,
Guangzhou Women and Children’s Medical Center
OCT dataset:
  109,309 total images
    1,000 test images
    108,309 training images
  Broken up into four main categories, based on AMD pathology
    37,455 choroidal neovascularization images (CNV)
    11,598 diabetic macular edema images (DME)
    8,866 drusen images (DRUSEN)
    51,390 normal images (NORMAL)
  Varying image sizes, orientations, and speckle noise
CNV
DME
DRUSEN
NORMAL

## Slide 8: Preprocessing
Resizing the dataset:
  Need images to all have same dimensions for CNN
  All images resized to be 256 x 256 pixels
  Aspect ratio threshold set at 1.5:1
  New Dataset:
    Total: 42,345 Images
      Train: 41,345 images
      Test: 1,000 images
      CNV: 9,494 images
      DME: 10,144 images
      DRUSEN: 5,371 images
      NORMAL: 16,336 images

## Slide 9: Preprocessing
2. Adding speckle noise:
  Speckle noise simulated using random phasors:
    Amplitude (A) had a constant value
    Phase () had a unform distribution from to
  A sum of N phasors is added to each pixel to produce the speckle noise in your image
    : pre-factor (can be set to any value)
  Smaller = more speckle noise
Low Speckle Noise ( = 10):
High Speckle Noise ( = 2.5):
Medium Speckle Noise ( = 5):

## Slide 10: Cleaning up Speckle Noise
Denoising Autoencoder:
  Task:
    Denoising speckled images to recover original images
    Labels: OCT resized dataset
  Model:
    Conv2D + ReLU
    MaxPooling2D
    UpSampling2D
    Conv2D + Sigmoid
  Compile:
    Optimizer: Adam
    Loss Function: Mean squared error
    Learning Rate: 0.001

## Slide 11: Classification
VGG-11 model:
  Task:
    Multiclass classification
    Labels:
      CNV = 1
      DME = 2
      DRUSEN = 3
      NORMAL = 4
  Model:
    Conv2D + ReLU
    MaxPooling2D
    Fully Connected + ReLU
    Fully Connected + SoftMax
  Compile:
    Optimizer: Adam
    Loss Function: Categorical cross entropy
    Learning Rate: 0.001

## Slide 12: Results
Mean Squared Error = 0.0200
Image reconstruction from denoising autoencoder:
High Speckle Noise:
Mean Squared Error = 0.00670
Medium Speckle Noise:
Mean Squared Error = 0.00512
Low Speckle Noise:

## Slide 13: Results
2. Classification Accuracy vs Speckle Noise Level:

## Slide 14: Conclusions
Denoising autoencoder is effective in removing speckle noise, but causes a strong gaussian blur effect (not ideal for classification)
Medium speckle noise performs best in terms of speckle noise suppression and classification
Possible future work:
  Explore other options for cleaning up speckle noise (e.g., mean filter)
  Test on dataset with known and predictable speckle noise values
  Optimize speckle noise ( value) within the CNN itself through a custom layer
  Test classification on other types of CNN architectures (ResNet, MobileNet, etc.)

## Slide 15: References
[1] Fleckenstein, M., Keenan, T.D.L., Guymer, R.H. et al. Age-related macular degeneration. Nat Rev Dis Primers 7, 31 (2021). https://doi.org/10.1038/s41572-021-00265-2
[2] Nabila Eladawi et al., “Optical coherence tomography: A review,” pp. 191–221, Jan. 2020, doi: https://doi.org/10.1016/b978-0-12-817440-1.00007-3.
[3] T. Yoneyama and Y. Sakamoto, “Speckle control for electro-holographic display using high-brightness yellow phosphor light source in projector,” Optical engineering, vol. 62, no. 08, Aug. 2023, doi: https://doi.org/10.1117/1.oe.62.8.083103.
[4] “VGG-16 | CNN model,” GeeksforGeeks, Feb. 26, 2020. https://www.geeksforgeeks.org/vgg-16-cnn-model/
[5] S. Diao et al., “Classification and segmentation of OCT images for age-related macular degeneration based on dual guidance networks,” Biomedical Signal Processing and Control, vol. 84, p. 104810, Jul. 2023. doi:10.1016/j.bspc.2023.104810